## General Information

A biogas digester is an ecosanitation option. It uses human and animal feces and organic waste to produce gas that can be used in the home for cooking and lighting. A pour flush latrine can be connected to the biogas digester. The digester uses natural decomposition processes to create methane and carbon dioxide gas. The slurry produced has a high level of pathogens and should be composted and used as fertilizer or safely disposed (e.g. buried).  An average family cannot normally produce enough excreta to fuel a biogas digester on their own, and must add the feces of two cattle (or similar quantity livestock manure), or combine with other families.

## Recommended Areas

- Rural areas for households with livestock

- Compounds/communities with more than one family or household who own at least two cattle  who could share a digester

- Areas where fuel for cooking/lighting is expensive or in short supply

## Materials

- Requires skilled labour and advice

- Appliances that can be run off biogas: cooking stove, heating, lighting, refrigeration

## Design Components

- Masonry or steel digestion chamber

- Inlet port for loading animal excreta

- Connection to water seal / pour flush latrine with inlet port for human excreta (optional)

- Outlet for digested slurry

- Outlet port for generated gas

## Design Options

- A single biogas digester can be shared by a group of families to reduce capital costs. The arrangements for the operation and management of the digester and the sharing of the gas produced must be agreed.

- Biogas digesters can be connected to communal latrines where sufficient human excreta can be collected.

## Operation and Maintenance

- Operation and maintenance of latrine according to type connected

- The digester should be loaded on a daily basis to operate effectively

- Kitchen and garden waste (organic matter) can be added to the digester

- Non-organic and solid materials should not be put into the digester The slurry produced should be composted to reduce pathogens or safely disposed (e.g. buried)

| Advantages | Limitations |
| --- | --- |
| Excreta is used as a resource to produce fuel Permanent system The slurry can be composted for use on crops Can be used by washers and wipers who use soft materials for anal cleansing Can be connected to a pour flush latrine Reduces potential for groundwater contamination if slurry is properly disposed | Expensive to build Required skilled design and construction labour Requires regular maintenance and feeding of the system Must have enough excreta for the system to function Slurry must be handled carefully and composted as it is not sanitary Requires water for flushing May be unacceptable to use excreta for this purpose – especially human excreta |

# Text boxes

Source: Unknown